SECTION 057313

SMOKE BAFFLE SYSTEM

Comments for spec writer in BLUE throughout this document

PART 1 - GENERAL

1.1               RELATED DOCUMENTS

A.         Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2               SUMMARY

A.         Section Includes:

1.           Interior smoke baffle systems.

2.           Fasteners.

1.3               COORDINATION AND SCHEDULING

A.         Coordinate installation of anchorages for smoke baffles. Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry. Deliver items to the Project site in time for installation.

1.4               ACTION SUBMITTALS

A.         Product Data:

1.           Manufacturer's product lines of glazed decorative metal smoke baffles assembled from standard components.

2.           Glass products.

3.           Fasteners.

4.           Metal finishes

B.         Sustainable Design Submittals:

1.           Product Data: For recycled content, indicating postconsumer and pre consumer recycled content and cost.

C.         Shop Drawings: Include plans, elevations, sections, and attachment details.

Retain "Samples for Initial Selection" and "Samples for Verification" paragraphs below for two-stage Samples.

D.         Samples for Initial Selection: For products involving selection of color, texture, or design.

E.          Samples for Verification: For each type of exposed finish required.

1.           Each type of glass and glass edge required.

2.           Fittings and brackets.

1.5               WARRANTY

When warranties are required, verify with Owner's counsel that warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

"Manufacturer's Special Warranty for Laminated Glass" Paragraph below is an example only; revise to suit Project.

A.         Manufacturer's Special Warranty for Laminated Glass: Glazed decorative metal smoke baffle manufacturer agrees to replace laminated-glass units that deteriorate within specified warranty period. Deterioration of laminated glass is defined as defects developed from normal use that are not attributed to glass breakage or to maintaining and cleaning laminated glass contrary to manufacturer's written instructions. Defects include edge separation, delamination materially obstructing vision through glass, and blemishes exceeding those allowed by referenced laminated-glass standard.

Verify available warranties and warranty periods. The manufacturer recommends SGP as the interlayer material for laminated glass as it is structurally stronger, has better edge and laminate performance than PVB, and it has a five-year warranty. There is only a one-year warranty offered for the PVB interlayer material.

1.           Warranty Period: [One] [Five] year[s] from date of Substantial Completion.

PART 2 - PRODUCTS

2.1               MANUFACTURERS

A.         Source Limitations for Glazed Decorative Metal Smoke Baffle Components: Obtain from single source from single manufacturer for each component and installation method.

B.         Smoke Baffle System:

Cantilevered structural glass smoke baffle systems specified in this paragraph are fabricated from laminated glass panels in the following configurations as listed below:

SBS-1: Vertical glass surface-mounted to ceiling substrate with exposed aluminum clamps.

SBS-2: Vertical glass inset-mounted to ceiling substrate with concealed aluminum clamps.

1.           Acceptable Manufacturer:t: VIVA Railings, distributed by Fire Curtain Technologies; Canandaigua, NY 14424; Tel: 585-412-2179; Email: info@firecurtaintech.com, www.firecurtaintechnologies.com

2.2               METALS, GENERAL

A.         Metal Surfaces, General: Provide materials with smooth surfaces, without seam marks, roller marks, rolled trade names, stains, discolorations, or blemishes.

B.         Brackets, Flanges, and Anchors: Same metal and finish as indicated.

2.3               STAINLESS STEEL

A.         Castings: ASTM A743/A743M, Grade CF 8 or Grade CF 20.

B.         Sheet, Strip, Plate, and Flat Bar: ASTM A666 or ASTM A240/A240M, Type 304.

C.         Bars and Shapes: ASTM A276, Type 304.

2.4               ALUMINUM

A.         Aluminum, General: Provide alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with strength and durability properties for each aluminum form required not less than that of alloy and temper designated below.

B.         Extruded Bars and Shapes: ASTM B221 (ASTM B221M), Alloy 6063-T5/T52.

C.         Plate and Sheet: ASTM B209 (ASTM B209M), Alloy 6061-T6.

D.         Die and Hand Forgings: ASTM B247 (ASTM B247M), Alloy 6061-T6.

E.          Castings: ASTM B26/B26M, Alloy A356.0-T6.

2.5               STEEL

A.         Hot-rolled, carbon steel complying with ASTM A29/A29M, Grade 1010.

2.6               GLASS AND GLAZING PRODUCTS, GENERAL

A.         Glazing Publications: Comply with written instructions of glass product manufacturers and organizations below unless more stringent requirements are indicated. See these publications for glazing terms not otherwise defined in this Section or in referenced standards.

1.           NGA/GANA Publications: ["GANA Laminated Glazing Reference Manual" and ]"GANA Glazing Manual."

B.         Safety Glazing: Glazing shall comply with 16 CFR 1201, Category II.

C.         Safety Glazing Labeling: Permanently mark glass with certification label of [the SGCC] [the SGCC or another certification agency acceptable to authorities having jurisdiction] [or] [manufacturer]. Label shall indicate manufacturer's name, type of glass, thickness, and safety glazing standard with which glass complies.

Retain one or more of "Clear Annealed Float Glass," "Low-Iron Float Glass," "Tinted Annealed Float Glass," "Fully Tempered Float Glass," and "Heat-Strengthened Float Glass" paragraphs below for primary float glass types and classifications.

D.         Clear Annealed Float Glass: ASTM C1036, Type I, Class 1 (clear), Quality-Q3.

E.          Low-Iron Float Glass: ASTM C1036, Type I, Class I (clear), Quality-Q3; and with visible light transmission of not less than 91 percent.

F.          Tinted Annealed Float Glass: ASTM C1036, Type I, Class 2 (tinted), Quality-Q3.

G.         Fully Tempered Float Glass: ASTM C1048, Kind FT (fully tempered), Condition A (uncoated) unless otherwise indicated, Type I, Class 1 (clear), Class 1 and low-iron clear, or Class 2 (tinted) as indicated, Quality-Q3.

H.         Heat-Strengthened Float Glass: ASTM C1048, Kind HS (heat strengthened), Type I, Condition A (uncoated) unless otherwise indicated, Type I, Class 1 (clear) or Class 2 (tinted) as indicated, Quality-Q3.

I.           Ceramic-Coated Glass: Heat-strengthened float glass, Condition C; with ceramic enamel applied by silk-screened process; complying with Specification No. 95-1-31 in GANA's "Engineering Standards Manual" and with other requirements specified.

J.           Bent Glass: ASTM C1464, [Kind BFT (bent, tempered)] [Kind BHS, (bent, heat strengthened)] [Kind BL, (bent, laminated)].

K.         Dry-Set Continuous Compression Mounting Accessories for Glass Infill Panels: As recommended or supplied by the railing manufacturer for installing glass infill panels in post-supported railings.

2.7               GLASS PANELS

A.         Tempered Glass: Provide products that have been tested for surface and edge compression in accordance with ASTM C1048 and for impact strength in accordance with 16 CFR 1201 for Category II materials.

1.           Glass Color: [Clear] [Blue] [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

2.           Glass Thickness: [3/8 inch (9 mm)] [1/2 inch (13 mm)] <As indicated on Drawings>.

B.         Laminated Glass: ASTM C1172, Type II with two plies of glass bonded together by an interlayer.

1.           Construction: Laminate glass with interlayer.

2.           Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

Retain one of first two options in "Kind" Subparagraph below or retain "As indicated" option and indicate kinds required in "Fabrication of Structural Glass Balusters" or "Fabrication of Glass Infill Panels" Article.

3.           Kind: [LT (laminated tempered)] [As indicated].

4.           Glass Color: Inner-ply [clear] [low-iron clear] [blue] [blue-green] [bronze] [green] [gray] <Insert color>; outer-ply [clear] [low-iron clear] [blue] [blue-green] [bronze] [green] [gray] <Insert color>.

5.           Ceramic Coating Color and Pattern: [As selected by Architect from manufacturer's full range] <Insert manufacturer's color and pattern designation>, applied to [inner] [outer] glass ply.

Manufacturer recommends SGP, as it is structurally stronger and has better edge and laminate performance than PVB.

Retain one of two "Interlayer" subparagraphs below.

6.           Interlayer: SGP; [0.035 inch (0.89 mm)] [0.060 inch (1.52 mm)] thick.

a.           Interlayer Color: [Clear] [Translucent White].

7.           Interlayer: PVB; 0.060 inch (1.52 mm) thick.

a.           Interlayer Color: [Clear] [Blue-green] [Bronze light] [Gray] <Insert color>.

8.           Glass Thickness: [3/8 inch (9 mm)] [1/2 inch (13 mm)] <As indicated on Drawings>.

2.8               FASTENERS

A.         Fastener Materials: Unless otherwise indicated, provide the following:

1.           For Stainless Steel and Aluminum Components: [Type 304] [Type 316] stainless steel fasteners.

2.           For Dissimilar Metals: [Type 304] [Type 316] stainless steel fasteners.

Retain subparagraph below if exposed fasteners are allowed, especially with color anodic finish.

3.           Finish exposed fasteners to match appearance, including color and texture, of railings.

B.         Fasteners for Anchoring to Other Construction: Select fasteners of type, grade, and class required to produce connections suitable for anchoring smoke baffles to other types of construction indicated.

C.         Provide concealed fasteners for interconnecting smoke baffle components and for attaching smoke baffles to other work unless [otherwise indicated] [exposed fasteners are unavoidable] [exposed fasteners are the standard fastening method for smoke baffles indicated].

Revise subparagraph below if another type of head is required

1.           Provide hex, hex socket, or hex button machine screws for exposed fasteners unless otherwise indicated.

2.9               FABRICATION

A.         General: Fabricate glazed decorative metal smoke baffles to comply with requirements indicated for design, dimensions, member sizes and spacing, details, finish, and anchorage.

B.         Shop assemble smoke baffles and guards to greatest extent possible to minimize field splicing and assembly. Disassemble units only as necessary for shipping and handling limitations. Clearly mark units for reassembly and coordinated installation. Use connections that maintain structural value of joined pieces.

C.         Cut, drill, and punch metals cleanly and accurately. Remove burrs and ease edges to a radius of approximately 1/32 inch(1 mm) unless otherwise indicated. Remove sharp or rough areas on exposed surfaces.

D.         Form work true to line and level with accurate angles and surfaces.

E.          Fabricate connections that will be exposed to weather in a manner to exclude water. Provide weep holes where water may accumulate. Locate weep holes in inconspicuous locations.

F.          Cut, reinforce, drill, and tap as indicated to receive finish hardware, screws, and similar items.

G.         Mechanical Connections: Connect members with concealed mechanical fasteners and fittings. Fabricate members and fittings to produce flush, smooth, rigid, hairline joints.

1.           Fabricate splice joints for field connection using an epoxy structural adhesive if this is manufacturer's standard splicing method.

H.         Brackets, Flanges, Fittings, and Anchors: Provide wall brackets, flanges, handrail brackets, miscellaneous fittings, and anchors to interconnect smoke baffle members to other Work unless otherwise indicated.

Retain subparagraph below if any smoke baffles are supported from plaster or gypsum board walls.

1.           At brackets and fittings fastened to plaster or gypsum board partitions, provide crush-resistant fillers, or other means to transfer loads through wall finishes to structural supports and to prevent bracket or fitting rotation and crushing of substrate.

I.           Provide inserts and other anchorage devices for connecting smoke baffles to concrete or masonry work. Fabricate anchorage devices capable of withstanding loads imposed by smoke baffles. Coordinate anchorage devices with supporting structure.

2.10            FABRICATION OF GLASS PANELS

A.         Fabricate glass to sizes and shapes required; provide for proper edge clearance and bite on glazing panels.

B.         Glass Panels: Provide [tempered] [laminated, heat-strengthened] [laminated, tempered] glass infill panels[ for both straight and curved sections].

Revise edging descriptions in "Edge Finish" Subparagraph below to suit Project.

1.           Edge Finish: [Clean-cut or flat-grind edges to produce smooth, square edges with slight chamfers at junctions of edges and faces] <Insert edge finishes>.

2.11            METAL FINISH REQUIREMENTS, GENERAL

A.         Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" recommendations for applying and designating finishes.

B.         Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipment.

Retain "Appearance of Finished Work" Paragraph below for variable finishes, such as anodized or patina finishes.

C.         Appearance of Finished Work: Noticeable variations in the same piece are not acceptable. Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples. Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

Retain paragraph below if exposed fasteners are allowed, especially with color anodic finish.

D.         Provide exposed fasteners with finish matching appearance, including color and texture, of railings.

2.12            STAINLESS STEEL FINISHES

A.         Surface Preparation: Remove tool and die marks and stretch lines, or blend into finish.

B.         Stainless Steel Finishes:

Retain "Color Electro-Plated Metal" Subparagraph to suit Project.

1.           Color Electro-Plated Metal: Vertical and stand-off components.

Retain "Basis-of-Design Product" Subparagraph below to require a specific product or a comparable product.

a.           Basis-of-Design Product: Subject to compliance with requirements, provide VIVA Railings, LLC; ECM Finish System or comparable product.

b.           Color: Satin [Black (ECM-20)] [Gold (ECM-21)] [Brass (ECM-23)] [Copper (ECM-25)].

Finish in "Dull Satin Finish" Subparagraph below is a non directional finish produced from a No. 4 finish by brushing with a 380-grit extremely fine abrasive to remove the grit lines without producing a reflective appearance.

2.           Dull Satin Finish: ASTM A480/A480M, No. 6.

Retain option in paragraph below for exterior rails.

C.         When polishing is completed,[ passivate and] rinse surfaces. Remove embedded foreign matter and leave surfaces chemically clean.

2.13            ALUMINUM FINISHES

A.         Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain or revise finishes in this article to suit Project. If retaining more than one finish in paragraphs below, indicate location of each on Drawings or by inserts.

Retain one of two options in "Clear Anodic Finish" Paragraph below. Class II finish is standard with many manufacturers; Class I finish is heavy anodized. Verify availability with manufacturers.

B.         Clear Anodic Finish: AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in "Color Anodic Finish" Paragraph below. Class II finish is standard with many manufacturers; Class I finish is heavy anodized. Verify availability with manufacturers.

C.         Color Anodic Finish: AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

Options in "Color" Subparagraph below are examples only and may vary in color range and availability among manufacturers.

1.           Color: [Champagne] [Light bronze] [Medium bronze] [Dark bronze] [Black] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

"Powder-Coat Finish" Paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

D.         Powder-Coat Finish: AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm). Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

1.           Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain "High-Performance Organic Finish, Two-Coat PVDF"; "Superior-Performance Organic Finish, Three-Coat PVDF"; "Superior-Performance Organic Finish, Four-Coat PVDF"; "Superior-Performance Organic Finish, Single-Coat FEVE"; or "Superior-Performance Organic Finish, Two-Coat FEVE" Paragraph below. If more than one is required, indicate location of each system on Drawings, in schedules, or by inserts. If specific products are required, name coating manufacturers and products.

In "High-Performance Organic Finish, Two-Coat PVDF" Paragraph below, retain AAMA 2604 with 50 percent resin content by weight in color coat or AAMA 2605 with 70 percent resin content by weight in color coat for high-performance organic coatings on extrusions and panels.

E.          High-Performance Organic Finish, Two-Coat PVDF: Fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent PVDF resin by weight in color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions[ for seacoast and severe environments].

1.           Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

F.          Superior-Performance Organic Finish, Three-Coat PVDF: Fluoropolymer finish complying with AAMA 2605 and containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions[ for seacoast and severe environments].

1.           Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

G.         Superior-Performance Organic Finish, Four-Coat PVDF: Fluoropolymer finish complying with AAMA 2605 and containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions[ for seacoast and severe environments].

1.           Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

"Superior-Performance Organic Finish, Single-Coat FEVE" Paragraph below is unsuitable for seacoast and severe environments.

H.         Superior-Performance Organic Finish, Single-Coat FEVE: Fluoropolymer finish complying with AAMA 2605. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

1.           Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

I.           Superior-Performance Organic Finish, Two-Coat FEVE: Fluoropolymer finish complying with AAMA 2605. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions for seacoast and severe environments.

1.           Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

2.14            STEEL FINISHES

A.         Surface Preparation: Remove tool and die marks and stretch lines, or blend into finish.

B.         Powder-Coat Finish: AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm). Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

1.           Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

PART 3 - EXECUTION

3.1               EXAMINATION

A.         Contractor to examine plaster and gypsum board assemblies, where reinforced to receive anchors, to verify that locations of concealed reinforcements have been clearly marked for Installer. Locate reinforcements and mark locations if not already done.

3.2               INSTALLATION OF SMOKE BAFFLES

A.         Structural Glass Smoke Baffle Panels: Install assembly in accordance with manufacturer's written instructions.

B.         Securely attach [concealed] [exposed] mounting clamps to building structure; insert structural glass smoke baffle panels within clamps and fasten.

3.3               CLEANING

A.         Clean decorative metal finishes by washing thoroughly with water and soap, rinsing with clean water, and wiping dry.

B.         Clean and polish glass as recommended in writing by the manufacturer. Wash both exposed surfaces in each area of the Project not more than four days before the date scheduled for inspections that establish the date of Substantial Completion.

3.4               PROTECTION

A.         Protect finishes of smoke baffles from damage during construction period with temporary protective coverings approved by smoke baffle manufacturer. Remove protective coverings at time of Substantial Completion.

B.         Restore finishes damaged during installation and construction period so no evidence remains of correction work. Return items that cannot be refinished in the field to the shop; make required alterations and refinish the entire unit or provide new units.

END OF SECTION 057313